Subject: Basic Electrical Engineering

Tutorial 2

- When two resistances R1 and R2 are connected in parallel, they dissipate four times the power that they dissipate when they are connected in series with the same ideal source of emf. If R1= 3 Ω, find R2. [Ans: 3Ω]

Calculate the values of two resistances which when connected in series gives 50Ω and 8Ω when in parallel. [Ans: 10 Ω and 40 Ω]

- An electric heater takes 15 A at 220 V. It is desired to reduce the current to 10 A. Find the resistance which must be connected in series. [Ans: 7.33 Ω]

- Calculate the effective resistance of the following combination of resistances between points A and B. [Ans: 10.6 Ω]

A

3Ω

6Ω

18Ω

8Ω

3Ω

B

Parallel ma CURRENT DIVIDE
Series ma VOLTAGE DIVIDE

In the circuit shown, the total power dissipated is 448W. Determine the current flowing in each resistor and the potential difference between A and B. [Ans: I=6.231A, I1=1.917A, I2=0.4793A, I3=3.834A, VAB=71.896V]

- Determine the value of R if the power dissipated in 10Ω resistor is 40W for the circuit shown below. [Ans: R = 34.29 Ω]

- The current in the 6 Ω resistor of the network shown below is 2A. Find the current in all other resistors and the voltage V across the network. [Ans: IR1=5A, IR2=3A, IR3=2A, IR4=3.571A, IR5=1.428A, V=60.568V]

- In the circuit shown below calculate a) the current in all resistors b) the value of unknown resistance X and c) the equivalent resistance across A-B. [Ans: I1=2A, I2=1A, I3=2A ; X=15Ω ; Req = 3Ω]

- For the given circuit shown below find VCE and VAG. [Ans: VCE= -5V, VAG=30V]

- Find the resistance between A and D [Ans: 5.714 Ω]

- Calculate the resistance of the network between points A and B of the circuit below. [Ans: 3 Ω]

- Find the equivalent resistance between A and B for the network below. [Ans: 4 Ω]

- In the circuit shown below find the value of resistance R when VAB=5V. [Ans: 1 Ω]

- Using the series-parallel combination of resistors, determine the current delivered by the sources in the circuit shown below. [Ans: 28.448A]

- sIn the circuit shown below, what are the values of R1 and R2, when the current flowing through R1 is 1A and R2 is 5A? What is the value of R2 when the current flowing through R1 is zero? [Ans R1=20 Ω, R2 = 8 Ω ; R2=2 Ω]

- Find the equivalent resistance and the current supplied by the 20V source and current through 4 Ω resistor. [Ans: 5 Ω, 4A, 2A]

- Find the equivalent resistance across the terminals A and B, RAB. [Ans: 2.5 Ω]

Use Kirchoff’s Laws to solve the following problems:

- In the circuit of figure 1, find the currents in the resistance R1, R2, R3. [Ans: 2/11A, 5/11A, 7/11 A]

- Find the currents in R1 and R3. (Figure 2). [Ans 6A, 4A]

- In the circuit shown in figure 3, determine the magnitude and direction of current in each battery. [Ans 8A, 4A, 12A]

- In the unbalanced Wheatstone bridge shown in figure 4, galvanometer has resistance of 4 Ω. Find (i) the current through galvanometer (ii) currents in the four branches of the bridge (iii) potential difference across AC and (iv) effective resistance between A and C. (Use Kirchoff’s law with current branching method) [Ans: (i) 0.03058A (ii) IAB=1.34556A IBC=1.31498A IDC=0.73392A IAD=0.70424A (iii) VAC=10-Drop across 1Ω = 7.9502V (iv) RAC=VAC/(Current entering A) = 3.8802Ω]

- In the figure 5, find ‘V’ and the magnitude and direction of the unknown currents in the branches XN, YN and ZN. [Ans: 8.42V, 1.684A, 4.21A, 2.1A]

Figure 4

2Ω

G

4Ω

A

D

4Ω

1Ω

10V

C

7Ω

B

4Ω

1A

- Find VS in Figure 6 using Kirchoff’s Laws. [Ans: 41 V]

- Find the current and power delivered by each battery in the circuit shown in figure 7. [Ans: 0A, 0.667 A, 0 W, 8.004W]

- Find the values of R and VS in figure 8. Also find the power supplied by the source. [Ans: 2Ω, 12 V]

- Compute the value of battery current I in figure 9. [Ans: 0.3A]

- A battery of unknown e.m.f. is connected across resistance as shown in figure 10. The voltage drop across the 8 Ω resistor is 20V. What will be the current reading in the ammeter? What is the e.m.f. of the battery? [Ans: 0.7A, 67.3V]

- In the network shown in figure 11, find the value of resistance R and the current through it when the current through the branch DA is zero. [Ans: 2Ω, 2.5A]

- Calculate the output voltage, Vo for figure 12 using Kirchoff’s law

Figure 11

2Ω

D